## Read me
Disclaimer:
The National Renewable Energy Laboratory (NREL) is operated for the U.S. Department of Energy (DOE) by Alliance for Sustainable Energy, LLC ("Alliance").
Access to or use of any data or software made available on this server ("Data") shall impose the following obligations on the user, and use of the Data constitutes user's agreement to these terms. The user is granted the right, without any fee or cost, to use or copy the Data, provided that this entire notice appears in all copies of the Data. Further, the user agrees to credit DOE/NREL/ALLIANCE in any publication that results from the use of the Data. The names DOE/NREL/ALLIANCE, however, may not be used in any advertising or publicity to endorse or promote any products or commercial entities unless specific written permission is obtained from DOE/NREL/ ALLIANCE. The user also understands that DOE/NREL/ALLIANCE are not obligated to provide the user with any support, consulting, training or assistance of any kind with regard to the use of the Data or to provide the user with any updates, revisions or new versions thereof. DOE, NREL, and ALLIANCE do not guarantee or endorse any results generated by use of the Data, and user is entirely responsible for the results and any reliance on the results or the Data in general.
USER AGREES TO INDEMNIFY DOE/NREL/ALLIANCE AND ITS SUBSIDIARIES, AFFILIATES, OFFICERS, AGENTS, AND EMPLOYEES AGAINST ANY CLAIM OR DEMAND, INCLUDING REASONABLE ATTORNEYS' FEES, RELATED TO USER’S USE OF THE DATA. THE DATA ARE PROVIDED BY DOE/NREL/ALLIANCE "AS IS," AND ANY EXPRESS OR IMPLIED WARRANTIES, INCLUDING BUT NOT LIMITED TO THE IMPLIED WARRANTIES OF MERCHANTABILITY AND FITNESS FOR A PARTICULAR PURPOSE ARE DISCLAIMED. DOE/NREL/ALLIANCE ASSUME NO LEGAL LIABILITY OR RESPONSIBILITY FOR THE ACCURACY, COMPLETENESS, OR USEFULNESS OF THE DATA, OR REPRESENT THAT ITS USE WOULD NOT INFRINGE PRIVATELY OWNED RIGHTS. IN NO EVENT SHALL DOE/NREL/ALLIANCE BE LIABLE FOR ANY SPECIAL, INDIRECT OR CONSEQUENTIAL DAMAGES OR ANY DAMAGES WHATSOEVER, INCLUDING BUT NOT LIMITED TO CLAIMS ASSOCIATED WITH THE LOSS OF DATA OR PROFITS, THAT MAY RESULT FROM AN ACTION IN CONTRACT, NEGLIGENCE OR OTHER TORTIOUS CLAIM THAT ARISES OUT OF OR IN CONNECTION WITH THE ACCESS, USE OR PERFORMANCE OF THE DATA.
Instructions for use:
- This workbook is intended for use in conjunction with National Renewable Energy Laboratory (NREL) approved Laboratory Analytical Procedures (LAPs) only.
- Cells highlighted in blue are areas where values or information should be entered.
- Cells in white are calculations or references that should not be changed unless necessary.
- The pages in this workbook are locked to protect the integrity of the workbook. Many of the cells contain calculations that can be inadvertently changed or copied over. To unlock a sheet, choose the Tools option from the menu, choose Protection, and highlight the Unprotect Sheet option. This will unlock all of the cells in the page. Unlocking is not recommended unless product specific changes must be made.
- This workbook may be distributed to other organizations in its original form only.
- Abbreviations:
TRB- Technical Record Book
ADW- Air dry weight, the weight of a sample or apparatus after air drying or vacuum oven drying
ODW- Oven dry weight, the weight of a sample or apparatus corrected for moisture content
-From version 08-18-2006 to 07-08-2011, the following changes were made:
- The acetic acid to acetate modifier was corrected
- A new Sugar Recovery Standard tab was added to handle triplicate SRS measurements
-The ability to choose from multiple SRS recoveries was included
For questions, comments, or suggestions, please contact biomass_laps@nrel.gov.
Revision: 07-08-2011

## TRB Record
Master Ref | Owner's Name | Sample Description | TRB Received | TRB Ash | TRB Extractives | TRB Moisture Extr Free | TRB Insol Lignin | TRB Sugars | TRB Uronic Acid | TRB Acetyl
1 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 1 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 2 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 3 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 4 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 5 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 6 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 7 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 8 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 9 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 10 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 11 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 12 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 13 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 14 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 15 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 16 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 17 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 18 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 19 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 20 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 21 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 22 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 23 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 24 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 25 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 26 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 27 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 28 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 29 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 30 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0

## % solids whole biomass
|  |  | IR Method | Oven Method
Master Ref | TRB Moist. ExtFree | Sample Description | % Solids | Dry Pan (g) | Sample (g) | Pan with dry solids (g) | Dry sample (g) | % Solids | Avg % Solids
1 |  | 0 |  |  |  |  | 0
replicate 1 |  | 0 |  |  |  |  | 0 |  | 0
2 |  | 0 |  |  |  |  | 0
replicate 2 |  | 0 |  |  |  |  | 0 |  | 0
3 |  | 0 |  |  |  |  | 0
replicate 3 |  | 0 |  |  |  |  | 0 |  | 0
4 |  | 0 |  |  |  |  | 0
replicate 4 |  | 0 |  |  |  |  | 0 |  | 0
5 |  | 0 |  |  |  |  | 0
replicate 5 |  | 0 |  |  |  |  | 0 |  | 0
6 |  | 0 |  |  |  |  | 0
replicate 6 |  | 0 |  |  |  |  | 0 |  | 0
7 |  | 0 |  |  |  |  | 0
replicate 7 |  | 0 |  |  |  |  | 0 |  | 0
8 |  | 0 |  |  |  |  | 0
replicate 8 |  | 0 |  |  |  |  | 0 |  | 0
9 |  | 0 |  |  |  |  | 0
replicate 9 |  | 0 |  |  |  |  | 0 |  | 0
10 |  | 0 |  |  |  |  | 0
replicate 10 |  | 0 |  |  |  |  | 0 |  | 0
11 |  | 0 |  |  |  |  | 0
replicate 11 |  | 0 |  |  |  |  | 0 |  | 0
12 |  | 0 |  |  |  |  | 0
replicate 12 |  | 0 |  |  |  |  | 0 |  | 0
13 |  | 0 |  |  |  |  | 0
replicate 13 |  | 0 |  |  |  |  | 0 |  | 0
14 |  | 0 |  |  |  |  | 0
replicate 14 |  | 0 |  |  |  |  | 0 |  | 0
15 |  | 0 |  |  |  |  | 0
replicate 15 |  | 0 |  |  |  |  | 0 |  | 0
16 |  | 0 |  |  |  |  | 0
replicate 16 |  | 0 |  |  |  |  | 0 |  | 0
17 |  | 0 |  |  |  |  | 0
replicate 17 |  | 0 |  |  |  |  | 0 |  | 0
18 |  | 0 |  |  |  |  | 0
replicate 18 |  | 0 |  |  |  |  | 0 |  | 0
19 |  | 0 |  |  |  |  | 0
replicate 19 |  | 0 |  |  |  |  | 0 |  | 0
20 |  | 0 |  |  |  |  | 0
replicate 20 |  | 0 |  |  |  |  | 0 |  | 0
21 |  | 0 |  |  |  |  | 0
replicate 21 |  | 0 |  |  |  |  | 0 |  | 0
22 |  | 0 |  |  |  |  | 0
replicate 22 |  | 0 |  |  |  |  | 0 |  | 0
23 |  | 0 |  |  |  |  | 0
replicate 23 |  | 0 |  |  |  |  | 0 |  | 0
24 |  | 0 |  |  |  |  | 0
replicate 24 |  | 0 |  |  |  |  | 0 |  | 0
25 |  | 0 |  |  |  |  | 0
replicate 25 |  | 0 |  |  |  |  | 0 |  | 0
26 |  | 0 |  |  |  |  | 0
replicate 26 |  | 0 |  |  |  |  | 0 |  | 0
27 |  | 0 |  |  |  |  | 0
replicate 27 |  | 0 |  |  |  |  | 0 |  | 0
28 |  | 0 |  |  |  |  | 0
replicate 28 |  | 0 |  |  |  |  | 0 |  | 0
29 |  | 0 |  |  |  |  | 0
replicate 29 |  | 0 |  |  |  |  | 0 |  | 0
30 |  | 0 |  |  |  |  | 0
replicate 30 |  | 0 |  |  |  |  | 0 |  | 0

## Ash
Master Ref | TRB Ash | Sample Description | ODW Crucible (g) | ADW Sample (g) | % Solids | ODW Sample (g) | Ash&Crucible wt (g) | Ash (g) | % Ash | Average % Ash
1 |  | 0 |  |  | 0 | 0 |  | 0 | 0
replicate 1 |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 0
2 |  | 0 |  |  | 0 | 0 |  | 0 | 0
replicate 2 |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 0
3 |  | 0 |  |  | 0 | 0 |  | 0 | 0
replicate 3 |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 0
4 |  | 0 |  |  | 0 | 0 |  | 0 | 0
replicate 4 |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 0
5 |  | 0 |  |  | 0 | 0 |  | 0 | 0
replicate 5 |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 0
6 |  | 0 |  |  | 0 | 0 |  | 0 | 0
replicate 6 |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 0
7 |  | 0 |  |  | 0 | 0 |  | 0 | 0
replicate 7 |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 0
8 |  | 0 |  |  | 0 | 0 |  | 0 | 0
replicate 8 |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 0
9 |  | 0 |  |  | 0 | 0 |  | 0 | 0
replicate 9 |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 0
10 |  | 0 |  |  | 0 | 0 |  | 0 | 0
replicate 10 |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 0
11 |  | 0 |  |  | 0 | 0 |  | 0 | 0
replicate 11 |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 0
12 |  | 0 |  |  | 0 | 0 |  | 0 | 0
replicate 12 |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 0
13 |  | 0 |  |  | 0 | 0 |  | 0 | 0
replicate 13 |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 0
14 |  | 0 |  |  | 0 | 0 |  | 0 | 0
replicate 14 |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 0
15 |  | 0 |  |  | 0 | 0 |  | 0 | 0
replicate 15 |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 0
16 |  | 0 |  |  | 0 | 0 |  | 0 | 0
replicate 16 |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 0
17 |  | 0 |  |  | 0 | 0 |  | 0 | 0
replicate 17 |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 0
18 |  | 0 |  |  | 0 | 0 |  | 0 | 0
replicate 18 |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 0
19 |  | 0 |  |  | 0 | 0 |  | 0 | 0
replicate 19 |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 0
20 |  | 0 |  |  | 0 | 0 |  | 0 | 0
replicate 20 |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 0
21 |  | 0 |  |  | 0 | 0 |  | 0 | 0
replicate 21 |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 0
22 |  | 0 |  |  | 0 | 0 |  | 0 | 0
replicate 22 |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 0
23 |  | 0 |  |  | 0 | 0 |  | 0 | 0
replicate 23 |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 0
24 |  | 0 |  |  | 0 | 0 |  | 0 | 0
replicate 24 |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 0
25 |  | 0 |  |  | 0 | 0 |  | 0 | 0
replicate 25 |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 0
26 |  | 0 |  |  | 0 | 0 |  | 0 | 0
replicate 26 |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 0
27 |  | 0 |  |  | 0 | 0 |  | 0 | 0
replicate 27 |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 0
28 |  | 0 |  |  | 0 | 0 |  | 0 | 0
replicate 28 |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 0
29 |  | 0 |  |  | 0 | 0 |  | 0 | 0
replicate 29 |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 0
30 |  | 0 |  |  | 0 | 0 |  | 0 | 0
replicate 30 |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 0

## EtOH Extractives
Master Ref | TRB Extractives | Sample Description | ADW Sample (g) | % Solids | ODW Sample (g) | ODW Flask+B.C. (g) | ODW Flask+Ext (g) | Ext Wt. (g) | % EtOH Extractives | Average
1 |  | 0 |  | 0 | 0 |  |  | 0 | 0
replicate 1 |  | 0 |  | 0 | 0 |  |  | 0 | 0 | 0
2 |  | 0 |  | 0 | 0 |  |  | 0 | 0
replicate 2 |  | 0 |  | 0 | 0 |  |  | 0 | 0 | 0
3 |  | 0 |  | 0 | 0 |  |  | 0 | 0
replicate 3 |  | 0 |  | 0 | 0 |  |  | 0 | 0 | 0
4 |  | 0 |  | 0 | 0 |  |  | 0 | 0
replicate 4 |  | 0 |  | 0 | 0 |  |  | 0 | 0 | 0
5 |  | 0 |  | 0 | 0 |  |  | 0 | 0
replicate 5 |  | 0 |  | 0 | 0 |  |  | 0 | 0 | 0
6 |  | 0 |  | 0 | 0 |  |  | 0 | 0
replicate 6 |  | 0 |  | 0 | 0 |  |  | 0 | 0 | 0
7 |  | 0 |  | 0 | 0 |  |  | 0 | 0
replicate 7 |  | 0 |  | 0 | 0 |  |  | 0 | 0 | 0
8 |  | 0 |  | 0 | 0 |  |  | 0 | 0
replicate 8 |  | 0 |  | 0 | 0 |  |  | 0 | 0 | 0
9 |  | 0 |  | 0 | 0 |  |  | 0 | 0
replicate 9 |  | 0 |  | 0 | 0 |  |  | 0 | 0 | 0
10 |  | 0 |  | 0 | 0 |  |  | 0 | 0
replicate 10 |  | 0 |  | 0 | 0 |  |  | 0 | 0 | 0
11 |  | 0 |  | 0 | 0 |  |  | 0 | 0
replicate 11 |  | 0 |  | 0 | 0 |  |  | 0 | 0 | 0
12 |  | 0 |  | 0 | 0 |  |  | 0 | 0
replicate 12 |  | 0 |  | 0 | 0 |  |  | 0 | 0 | 0
13 |  | 0 |  | 0 | 0 |  |  | 0 | 0
replicate 13 |  | 0 |  | 0 | 0 |  |  | 0 | 0 | 0
14 |  | 0 |  | 0 | 0 |  |  | 0 | 0
replicate 14 |  | 0 |  | 0 | 0 |  |  | 0 | 0 | 0
15 |  | 0 |  | 0 | 0 |  |  | 0 | 0
replicate 15 |  | 0 |  | 0 | 0 |  |  | 0 | 0 | 0
16 |  | 0 |  | 0 | 0 |  |  | 0 | 0
replicate 16 |  | 0 |  | 0 | 0 |  |  | 0 | 0 | 0
17 |  | 0 |  | 0 | 0 |  |  | 0 | 0
replicate 17 |  | 0 |  | 0 | 0 |  |  | 0 | 0 | 0
18 |  | 0 |  | 0 | 0 |  |  | 0 | 0
replicate 18 |  | 0 |  | 0 | 0 |  |  | 0 | 0 | 0
19 |  | 0 |  | 0 | 0 |  |  | 0 | 0
replicate 19 |  | 0 |  | 0 | 0 |  |  | 0 | 0 | 0
20 |  | 0 |  | 0 | 0 |  |  | 0 | 0
replicate 20 |  | 0 |  | 0 | 0 |  |  | 0 | 0 | 0
21 |  | 0 |  | 0 | 0 |  |  | 0 | 0
replicate 21 |  | 0 |  | 0 | 0 |  |  | 0 | 0 | 0
22 |  | 0 |  | 0 | 0 |  |  | 0 | 0
replicate 22 |  | 0 |  | 0 | 0 |  |  | 0 | 0 | 0
23 |  | 0 |  | 0 | 0 |  |  | 0 | 0
replicate 23 |  | 0 |  | 0 | 0 |  |  | 0 | 0 | 0
24 |  | 0 |  | 0 | 0 |  |  | 0 | 0
replicate 24 |  | 0 |  | 0 | 0 |  |  | 0 | 0 | 0
25 |  | 0 |  | 0 | 0 |  |  | 0 | 0
replicate 25 |  | 0 |  | 0 | 0 |  |  | 0 | 0 | 0
26 |  | 0 |  | 0 | 0 |  |  | 0 | 0
replicate 26 |  | 0 |  | 0 | 0 |  |  | 0 | 0 | 0
27 |  | 0 |  | 0 | 0 |  |  | 0 | 0
replicate 27 |  | 0 |  | 0 | 0 |  |  | 0 | 0 | 0
28 |  | 0 |  | 0 | 0 |  |  | 0 | 0
replicate 28 |  | 0 |  | 0 | 0 |  |  | 0 | 0 | 0
29 |  | 0 |  | 0 | 0 |  |  | 0 | 0
replicate 29 |  | 0 |  | 0 | 0 |  |  | 0 | 0 | 0
30 |  | 0 |  | 0 | 0 |  |  | 0 | 0
replicate 30 |  | 0 |  | 0 | 0 |  |  | 0 | 0 | 0

## % solids Extr Free
|  |  | IR Method | Oven Method
Master Ref | TRB Moist. ExtFree | Sample Description | % Solids | Dry Pan (g) | Sample (g) | Pan with dry solids (g) | Dry sample (g) | % Solids | Avg % Solids
1 |  | 0 |  |  |  |  | 0
replicate 1 |  | 0 |  |  |  |  | 0 |  | 0
2 |  | 0 |  |  |  |  | 0
replicate 2 |  | 0 |  |  |  |  | 0 |  | 0
3 |  | 0 |  |  |  |  | 0
replicate 3 |  | 0 |  |  |  |  | 0 |  | 0
4 |  | 0 |  |  |  |  | 0
replicate 4 |  | 0 |  |  |  |  | 0 |  | 0
5 |  | 0 |  |  |  |  | 0
replicate 5 |  | 0 |  |  |  |  | 0 |  | 0
6 |  | 0 |  |  |  |  | 0
replicate 6 |  | 0 |  |  |  |  | 0 |  | 0
7 |  | 0 |  |  |  |  | 0
replicate 7 |  | 0 |  |  |  |  | 0 |  | 0
8 |  | 0 |  |  |  |  | 0
replicate 8 |  | 0 |  |  |  |  | 0 |  | 0
9 |  | 0 |  |  |  |  | 0
replicate 9 |  | 0 |  |  |  |  | 0 |  | 0
10 |  | 0 |  |  |  |  | 0
replicate 10 |  | 0 |  |  |  |  | 0 |  | 0
11 |  | 0 |  |  |  |  | 0
replicate 11 |  | 0 |  |  |  |  | 0 |  | 0
12 |  | 0 |  |  |  |  | 0
replicate 12 |  | 0 |  |  |  |  | 0 |  | 0
13 |  | 0 |  |  |  |  | 0
replicate 13 |  | 0 |  |  |  |  | 0 |  | 0
14 |  | 0 |  |  |  |  | 0
replicate 14 |  | 0 |  |  |  |  | 0 |  | 0
15 |  | 0 |  |  |  |  | 0
replicate 15 |  | 0 |  |  |  |  | 0 |  | 0
16 |  | 0 |  |  |  |  | 0
replicate 16 |  | 0 |  |  |  |  | 0 |  | 0
17 |  | 0 |  |  |  |  | 0
replicate 17 |  | 0 |  |  |  |  | 0 |  | 0
18 |  | 0 |  |  |  |  | 0
replicate 18 |  | 0 |  |  |  |  | 0 |  | 0
19 |  | 0 |  |  |  |  | 0
replicate 19 |  | 0 |  |  |  |  | 0 |  | 0
20 |  | 0 |  |  |  |  | 0
replicate 20 |  | 0 |  |  |  |  | 0 |  | 0
21 |  | 0 |  |  |  |  | 0
replicate 21 |  | 0 |  |  |  |  | 0 |  | 0
22 |  | 0 |  |  |  |  | 0
replicate 22 |  | 0 |  |  |  |  | 0 |  | 0
23 |  | 0 |  |  |  |  | 0
replicate 23 |  | 0 |  |  |  |  | 0 |  | 0
24 |  | 0 |  |  |  |  | 0
replicate 24 |  | 0 |  |  |  |  | 0 |  | 0
25 |  | 0 |  |  |  |  | 0
replicate 25 |  | 0 |  |  |  |  | 0 |  | 0
26 |  | 0 |  |  |  |  | 0
replicate 26 |  | 0 |  |  |  |  | 0 |  | 0
27 |  | 0 |  |  |  |  | 0
replicate 27 |  | 0 |  |  |  |  | 0 |  | 0
28 |  | 0 |  |  |  |  | 0
replicate 28 |  | 0 |  |  |  |  | 0 |  | 0
29 |  | 0 |  |  |  |  | 0
replicate 29 |  | 0 |  |  |  |  | 0 |  | 0
30 |  | 0 |  |  |  |  | 0
replicate 30 |  | 0 |  |  |  |  | 0 |  | 0

## Lignin
Master Ref | TRB Lignin | Sample Description | ADW Sample (mg) | ODW Sample (mg) | ODW Crucible(g) | ODW Crucible + Residue (g) | ODW Residue (mg) | Ash + Crucible Wt (g) | Ash (mg) | Insol Residue (mg) | %Insol Residue | UV Absorbance | l meas (nm) | Sample volume used (ml) | Water volume used (ml) | Dilution | Extinction coefficeint | Hydrolyzate Volume (ml) | % Sol Lig | Total Lignin% | Average Lignin %
1 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0
replicate 1 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0 | 0
2 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0
replicate 2 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0 | 0
3 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0
replicate 3 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0 | 0
4 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0
replicate 4 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0 | 0
5 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0
replicate 5 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0 | 0
6 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0
replicate 6 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0 | 0
7 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0
replicate 7 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0 | 0
8 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0
replicate 8 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0 | 0
9 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0
replicate 9 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0 | 0
10 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0
replicate 10 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0 | 0
11 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0
replicate 11 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0 | 0
12 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0
replicate 12 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0 | 0
13 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0
replicate 13 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0 | 0
14 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0
replicate 14 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0 | 0
15 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0
replicate 15 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0 | 0
16 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0
replicate 16 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0 | 0
17 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0
replicate 17 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0 | 0
18 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0
replicate 18 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0 | 0
19 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0
replicate 19 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0 | 0
20 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0
replicate 20 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0 | 0
21 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0
replicate 21 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0 | 0
22 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0
replicate 22 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0 | 0
23 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0
replicate 23 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0 | 0
24 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0
replicate 24 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0 | 0
25 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0
replicate 25 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0 | 0
26 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0
replicate 26 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0 | 0
27 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0
replicate 27 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0 | 0
28 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0
replicate 28 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0 | 0
29 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0
replicate 29 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0 | 0
30 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0
replicate 30 |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  |  |  |  | #DIV/0! |  | 86.73 | #DIV/0! | 0 | 0

## SRSs
Name | SRS Identifier #1 |  |  |  |  | Name | SRS Identifier #2 |  |  |  |  | Name | SRS Identifier #3
| Glucose (mg/ml) | Xylose (mg/ml) | Galactose (mg/ml) | Arabinose (mg/ml) | Mannose (mg/ml) |  | Glucose (mg/ml) | Xylose (mg/ml) | Galactose (mg/ml) | Arabinose (mg/ml) | Mannose (mg/ml) |  | Glucose (mg/ml) | Xylose (mg/ml) | Galactose (mg/ml) | Arabinose (mg/ml) | Mannose (mg/ml)
Average Recovery | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average Recovery | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average Recovery | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Prehydrolysis | [5 empty] | Prehydrolysis | [5 empty] | Prehydrolysis
Posthydrolysis | [5 empty] | Posthydrolysis | [5 empty] | Posthydrolysis
Recovery | [5 empty] | Recovery | [5 empty] | Recovery
Prehydrolysis | [5 empty] | Prehydrolysis | [5 empty] | Prehydrolysis
Posthydrolysis | [5 empty] | Posthydrolysis | [5 empty] | Posthydrolysis
Recovery | [5 empty] | Recovery | [5 empty] | Recovery
Prehydrolysis | [5 empty] | Prehydrolysis | [5 empty] | Prehydrolysis
Posthydrolysis | [5 empty] | Posthydrolysis | [5 empty] | Posthydrolysis
Recovery | [5 empty] | Recovery | [5 empty] | Recovery
Prehydrolysis | [5 empty] | Prehydrolysis | [5 empty] | Prehydrolysis
Posthydrolysis | [5 empty] | Posthydrolysis | [5 empty] | Posthydrolysis
Recovery | [5 empty] | Recovery | [5 empty] | Recovery
Prehydrolysis | [5 empty] | Prehydrolysis | [5 empty] | Prehydrolysis
Posthydrolysis | [5 empty] | Posthydrolysis | [5 empty] | Posthydrolysis
Recovery | [5 empty] | Recovery | [5 empty] | Recovery
Prehydrolysis | [5 empty] | Prehydrolysis | [5 empty] | Prehydrolysis
Posthydrolysis | [5 empty] | Posthydrolysis | [5 empty] | Posthydrolysis
Recovery | [5 empty] | Recovery | [5 empty] | Recovery
Note on F2: The assumption is made that no fructose survives the 4% hydrolysis process.
Note on M2: The assumption is made that no fructose survives the 4% hydrolysis process.
Note on T2: The assumption is made that no fructose survives the 4% hydrolysis process.

## Structural Sugars
[5 empty] | HPLC Sequence: |  |  |  |  | col#: | 2 | 3 | 4 | 5 | 6 | Anhydro |  |  |  |  | Wt. % EFW
[10 empty] | SRS # | Glucose | Xylose | Galactose | Arabinose | Mannose
|  |  |  | Sugar Recovery Standards |  |  | SRS Identifier #1 |  |  | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | SRS Identifier #2 |  |  | 2 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | SRS Identifier #3 |  |  | 3 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Raw Data
Master Ref | TRB Sugars | Sample Description | ODW Sample (mg) | Volume (ml) | Glucose (mg/ml) | Xylose (mg/ml) | Galactose (mg/ml) | Arabinose (mg/ml) | Mannose (mg/ml) | Choose the most appropriate SRS# | Glucose (mg) | Xylose (mg) | Galactose (mg) | Arabinose (mg) | Mannose (mg) | Glucan (mg) | Xylan (mg) | Galactan (mg) | Arabinan (mg) | Mannan (mg) | Glucan% | Avg Glucan % | Xylan % | Avg Xylan % | Galactan % | Avg Galactan % | Arabinan % | Avg Arabinan % | Mannan % | Avg Mannan % | total sugars | Avg total %
1 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
replicate 1 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
replicate 2 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
replicate 3 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
replicate 4 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
replicate 5 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
replicate 6 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
replicate 7 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
replicate 8 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
replicate 9 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
replicate 10 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
replicate 11 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
replicate 12 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
replicate 13 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
replicate 14 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
replicate 15 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
replicate 16 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
replicate 17 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
replicate 18 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
replicate 19 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
replicate 20 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
replicate 21 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
replicate 22 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
replicate 23 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
replicate 24 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
replicate 25 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
replicate 26 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
replicate 27 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
replicate 28 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
replicate 29 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
replicate 30 |  | 0 | 0 | 86.73 | [5 empty] | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Uronic Acid
HPLC Sequence:
Master Ref | TRB Uronic Acids | Sample Description | ODW Sample (mg) | Volume (ml) | Uronic Acids (mg/ml) | Uronic Acid (mg) | Uronic Acids % | Average
1 |  | 0 | 0 | 86.73 |  | 0 | 0
replicate 1 |  | 0 | 0 | 86.73 |  | 0 | 0 | 0
2 |  | 0 | 0 | 86.73 |  | 0 | 0
replicate 2 |  | 0 | 0 | 86.73 |  | 0 | 0 | 0
3 |  | 0 | 0 | 86.73 |  | 0 | 0
replicate 3 |  | 0 | 0 | 86.73 |  | 0 | 0 | 0
4 |  | 0 | 0 | 86.73 |  | 0 | 0
replicate 4 |  | 0 | 0 | 86.73 |  | 0 | 0 | 0
5 |  | 0 | 0 | 86.73 |  | 0 | 0
replicate 5 |  | 0 | 0 | 86.73 |  | 0 | 0 | 0
6 |  | 0 | 0 | 86.73 |  | 0 | 0
replicate 6 |  | 0 | 0 | 86.73 |  | 0 | 0 | 0
7 |  | 0 | 0 | 86.73 |  | 0 | 0
replicate 7 |  | 0 | 0 | 86.73 |  | 0 | 0 | 0
8 |  | 0 | 0 | 86.73 |  | 0 | 0
replicate 8 |  | 0 | 0 | 86.73 |  | 0 | 0 | 0
9 |  | 0 | 0 | 86.73 |  | 0 | 0
replicate 9 |  | 0 | 0 | 86.73 |  | 0 | 0 | 0
10 |  | 0 | 0 | 86.73 |  | 0 | 0
replicate 10 |  | 0 | 0 | 86.73 |  | 0 | 0 | 0
11 |  | 0 | 0 | 86.73 |  | 0 | 0
replicate 11 |  | 0 | 0 | 86.73 |  | 0 | 0 | 0
12 |  | 0 | 0 | 86.73 |  | 0 | 0
replicate 12 |  | 0 | 0 | 86.73 |  | 0 | 0 | 0
13 |  | 0 | 0 | 86.73 |  | 0 | 0
replicate 13 |  | 0 | 0 | 86.73 |  | 0 | 0 | 0
14 |  | 0 | 0 | 86.73 |  | 0 | 0
replicate 14 |  | 0 | 0 | 86.73 |  | 0 | 0 | 0
15 |  | 0 | 0 | 86.73 |  | 0 | 0
replicate 15 |  | 0 | 0 | 86.73 |  | 0 | 0 | 0
16 |  | 0 | 0 | 86.73 |  | 0 | 0
replicate 16 |  | 0 | 0 | 86.73 |  | 0 | 0 | 0
17 |  | 0 | 0 | 86.73 |  | 0 | 0
replicate 17 |  | 0 | 0 | 86.73 |  | 0 | 0 | 0
18 |  | 0 | 0 | 86.73 |  | 0 | 0
replicate 18 |  | 0 | 0 | 86.73 |  | 0 | 0 | 0
19 |  | 0 | 0 | 86.73 |  | 0 | 0
replicate 19 |  | 0 | 0 | 86.73 |  | 0 | 0 | 0
20 |  | 0 | 0 | 86.73 |  | 0 | 0
replicate 20 |  | 0 | 0 | 86.73 |  | 0 | 0 | 0
21 |  | 0 | 0 | 86.73 |  | 0 | 0
replicate 21 |  | 0 | 0 | 86.73 |  | 0 | 0 | 0
22 |  | 0 | 0 | 86.73 |  | 0 | 0
replicate 22 |  | 0 | 0 | 86.73 |  | 0 | 0 | 0
23 |  | 0 | 0 | 86.73 |  | 0 | 0
replicate 23 |  | 0 | 0 | 86.73 |  | 0 | 0 | 0
24 |  | 0 | 0 | 86.73 |  | 0 | 0
replicate 24 |  | 0 | 0 | 86.73 |  | 0 | 0 | 0
25 |  | 0 | 0 | 86.73 |  | 0 | 0
replicate 25 |  | 0 | 0 | 86.73 |  | 0 | 0 | 0
26 |  | 0 | 0 | 86.73 |  | 0 | 0
replicate 26 |  | 0 | 0 | 86.73 |  | 0 | 0 | 0
27 |  | 0 | 0 | 86.73 |  | 0 | 0
replicate 27 |  | 0 | 0 | 86.73 |  | 0 | 0 | 0
28 |  | 0 | 0 | 86.73 |  | 0 | 0
replicate 28 |  | 0 | 0 | 86.73 |  | 0 | 0 | 0
29 |  | 0 | 0 | 86.73 |  | 0 | 0
replicate 29 |  | 0 | 0 | 86.73 |  | 0 | 0 | 0
30 |  | 0 | 0 | 86.73 |  | 0 | 0
replicate 30 |  | 0 | 0 | 86.73 |  | 0 | 0 | 0

## Acetate
HPLC Sequence:
Master Ref | TRB Acetate | Sample Description | ODW Sample (mg) | Volume (ml) | Acetic acid (mg/ml) | Acetic acid (mg) | Modifier | Acetate % | Average
1 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0
replicate 1 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0 | 0
2 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0
replicate 2 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0 | 0
3 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0
replicate 3 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0 | 0
4 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0
replicate 4 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0 | 0
5 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0
replicate 5 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0 | 0
6 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0
replicate 6 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0 | 0
7 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0
replicate 7 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0 | 0
8 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0
replicate 8 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0 | 0
9 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0
replicate 9 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0 | 0
10 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0
replicate 10 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0 | 0
11 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0
replicate 11 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0 | 0
12 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0
replicate 12 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0 | 0
13 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0
replicate 13 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0 | 0
14 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0
replicate 14 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0 | 0
15 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0
replicate 15 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0 | 0
16 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0
replicate 16 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0 | 0
17 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0
replicate 17 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0 | 0
18 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0
replicate 18 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0 | 0
19 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0
replicate 19 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0 | 0
20 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0
replicate 20 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0 | 0
21 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0
replicate 21 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0 | 0
22 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0
replicate 22 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0 | 0
23 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0
replicate 23 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0 | 0
24 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0
replicate 24 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0 | 0
25 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0
replicate 25 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0 | 0
26 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0
replicate 26 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0 | 0
27 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0
replicate 27 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0 | 0
28 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0
replicate 28 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0 | 0
29 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0
replicate 29 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0 | 0
30 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0
replicate 30 |  | 0 | 0 | 86.73 |  | 0 | 0.98333 | 0 | 0

## Duplicate Ext-free MC values
Master Ref | Sample Description | % Ash | % EtOH Extractives | % Lignin | % Glucan | % Xylan | % Galactan | % Arabinan | % Mannan | % Uronic Acids | % Acetyl | Total %
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
replicate 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Ext free mass closure
Master Ref | Sample Description | % Ash | % Extractives | % Lignin | % Glucan | % Xylan | % Galactan | % Arabinan | % Mannan | % Uronic acid | % Acetate
1 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
2 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
3 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
4 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
5 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
6 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
7 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
8 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
9 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
10 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
11 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
12 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
13 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
14 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
15 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
16 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
17 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
18 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
19 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
20 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
21 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
22 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
23 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
24 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
25 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
26 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
27 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
28 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
29 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
30 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!

## Average whole mass closure
Master Ref | Sample Description | % Ash | % Extractives | % Lignin | % Glucan | % Xylan | % Galactan | % Arabinan | % Mannan | % Uronic acid | % Acetate | % Total
1 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
2 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
3 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
4 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
5 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
6 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
7 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
8 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
9 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
10 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
11 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
12 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
13 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
14 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
15 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
16 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
17 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
18 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
19 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
20 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
21 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
22 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
23 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
24 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
25 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
26 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
27 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
28 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
29 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
30 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!

## Error flags
Master Ref | Sample Description | % Ash | % EtOH Extractives | % Lignin | % Glucan | % Xlyan | % Galactan | % Arabinan | % Mannan | % Uronic Acids | % Acetyl | Total %
Tolerance of Error: |  | 1 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 3
1 | 0
replicate 1 | 0
2 | 0
replicate 2 | 0
3 | 0
replicate 3 | 0
4 | 0
replicate 4 | 0
5 | 0
replicate 5 | 0
6 | 0
replicate 6 | 0
7 | 0
replicate 7 | 0
8 | 0
replicate 8 | 0
9 | 0
replicate 9 | 0
10 | 0
replicate 10 | 0
11 | 0
replicate 11 | 0
12 | 0
replicate 12 | 0
13 | 0
replicate 13 | 0
14 | 0
replicate 14 | 0
15 | 0
replicate 15 | 0
16 | 0
replicate 16 | 0
17 | 0
replicate 17 | 0
18 | 0
replicate 18 | 0
19 | 0
replicate 19 | 0
20 | 0
replicate 20 | 0
21 | 0
replicate 21 | 0
22 | 0
replicate 22 | 0
23 | 0
replicate 23 | 0
24 | 0
replicate 24 | 0
25 | 0
replicate 25 | 0
26 | 0
replicate 26 | 0
27 | 0
replicate 27 | 0
28 | 0
replicate 28 | 0
29 | 0
replicate 29 | 0
30 | 0

## Comments
Master Ref | comments
1
replicate 1
2
replicate 2
3
replicate 3
4
replicate 4
5
replicate 5
6
replicate 6
7
replicate 7
8
replicate 8
9
replicate 9
10
replicate 10
11
replicate 11
12
replicate 12
13
replicate 13
14
replicate 14
15
replicate 15
16
replicate 16
17
replicate 17
18
replicate 18
19
replicate 19
20
replicate 20
21
replicate 21
22
replicate 22
23
replicate 23
24
replicate 24
25
replicate 25
26
replicate 26
27
replicate 27
28
replicate 28
29
replicate 29
30
replicate 30
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!